Form 24-1

High-Power Laser Use Authorization Application

Proposal Information

(for SPring-8/SACLA users)

Proposal number	Beamline

研究課題番号：	ﾋﾞｰﾑﾗｲﾝ名：

研究課題名：

Title of experiment

実験責任者：

Project Leader

所	属：

Affiliation

Date of Application:

Month 　 /  Day  /  Year

To:

Japan Synchrotron Radiation Research Institute Safety Office

I hereby request authorization to install/use the high-power laser systems as below:

- Laser Supervisor (Project Leader)

Organization

Name User Card ID No.

Phone Email

- Director at Laser Supervisor's Organization

Organization

Position Name Phone Email

- Location of Installation

- Installation Period

from 	                             　  ( to )

month/day/year                             month/day/year

- Purpose of Use (☐attached / ☐  not attached)

- Specification (□  attached / □  not attached)

Class:  ☐  3R  ☐  3B   ☐  4		Operation Mode:  ☐  CW     ☐  pulse

Type:			Peak

Average power:   	 Wavelength　(n m):

- Checklist for safety measures for laser equipment

| Safety measures |  |  | Implementation Status |
| --- | --- | --- | --- |
| Controlled Area | Designation of Laser Controlled Area |  | ☐ Implemented |
|  | Restriction of unauthorized entry |  | ☐ Implemented |
|  | Installation of laser warning signs |  | ☐ Implemented |
|  | Posting of Manager's name & contact info at entrances |  | ☐ Implemented |
| Laser Equipment | Laser Beam Path | Beam path set at a height avoiding eye level | ☐ Implemented |
|  |  | Appropriate beam path design and containment | ☐ Implemented |
|  |  | Appropriate beam termination (Beam Dump) | ☐ Implemented |
|  | Electric Shock Prevention | Warning labels on high-voltage parts | ☐ Implemented ☐ N/A |
|  |  | Protection against contact with high-voltage parts | ☐ Implemented ☐ N/A |
|  | Interlock | ☐ Laser stops when enclosure is opened ☐ Other: | ☐ Available (Confirmed) ☐Laser interlock confirmed ☐ None |
|  |  | Reason for disabling interlock (if applicable): |  |
| Posting of Manager's name & contact info on the equipment |  |  | ☐ Implemented |
| Operation Management | Installation of Laser Emission Warning Light | ☐ Indicator Light (□ Auto / □ Manual ) | ☐ Implemented |
|  |  | ☐ Signboard / Notice |  |
|  |  | ☐ Other: （ ） |  |
|  | Optical alignment using minimum necessary power and appropriate tools |  | ☐ Notified / Known |
|  | Protective Equipment | Use of laser safety eyewear | ☐ Notified / Known |
|  |  | Wearing clothing with minimal skin exposure | ☐ Notified / Known |
|  |  | Wearing flame-retardant clothing | ☐ Notified / Known |
|  | Completion of safety training by personnel |  | ☐ Confirmed |
| Other | Specific measures implemented other than above: |  |  |

- List of Users Handling Laser Systems excl. Laser Supervisor (□  　attached / □　not attached)

| Organization | Name |
| --- | --- |

- Schematic Layout of Laser Systems and Equipment (☐  attached / ☐  not attached) (Indicate the location of the laser controlled area and warning signs.)

- A laser interlock test was conducted in the past with the contents of this application  (☐　Yes  / ☐  No)

---------------------------------------- Office Use Only ----------------------------------------

| For JASRI Safety Office Use Only |  |
| --- | --- |
| I hereby approve the installation /use of the laser systems. | Date: |
|  | Director Safety Office of JASRI |